## AI
Name | Title | type | eng
P_water_before_boiler_1 | AI - P воды перед котлом |  |  | "P_water_before_boiler_1": {"title": "AI - P воды перед котлом","tags":[
Enable | Наличие параметра | en |  | {"title":"Наличие параметра","tag":"\"Sensors\".P_water_before_boiler_1.Enable","val":":="Sensors".P_water_before_boiler_1.Enable:","type":"en","eng":""},
N_module | № модуля | module |  | {"title":"№ модуля","tag":"\"Sensors\".P_water_before_boiler_1.N_module","val":":="Sensors".P_water_before_boiler_1.N_module:","type":"module","eng":""},
N_chanel | № канала | aiChannel |  | {"title":"№ канала","tag":"\"Sensors\".P_water_before_boiler_1.N_chanel","val":":="Sensors".P_water_before_boiler_1.N_chanel:","type":"aiChannel","eng":""},
Low_limit_ADC_current | Нижняя граница (АЦП) |  |  | {"title":"Нижняя граница (АЦП)","tag":"\"Sensors\".P_water_before_boiler_1.Low_limit_ADC_current","val":":="Sensors".P_water_before_boiler_1.Low_limit_ADC_current:","type":"","eng":""},
Low_limit_phisical_current | Нижняя граница (физ.) |  | :="Engineering_units".pressure_01_EU: | {"title":"Нижняя граница (физ.)","tag":"\"Sensors\".P_water_before_boiler_1.Low_limit_phisical_current","val":":="Sensors".P_water_before_boiler_1.Low_limit_phisical_current:","type":"","eng":":="Engineering_units".pressure_01_EU:"},
High_limit_ADC_current | Верхняя граница (АЦП) |  |  | {"title":"Верхняя граница (АЦП)","tag":"\"Sensors\".P_water_before_boiler_1.High_limit_ADC_current","val":":="Sensors".P_water_before_boiler_1.High_limit_ADC_current:","type":"","eng":""},
High_limit_phisical_current | Верхняя граница (физ.) |  | :="Engineering_units".pressure_01_EU: | {"title":"Верхняя граница (физ.)","tag":"\"Sensors\".P_water_before_boiler_1.High_limit_phisical_current","val":":="Sensors".P_water_before_boiler_1.High_limit_phisical_current:","type":"","eng":":="Engineering_units".pressure_01_EU:"}
Sensors |  |  |  | "P_water_before_boiler_1": {"title": "AI - P воды перед котлом","tags":[{"title":"Наличие параметра","tag":"\"Sensors\".P_water_before_boiler_1.Enable","val":":="Sensors".P_water_before_boiler_1.Enable:","type":"en","eng":""},{"title":"№ модуля","tag":"\"Sensors\".P_water_before_boiler_1.N_module","val":":="Sensors".P_water_before_boiler_1.N_module:","type":"module","eng":""},{"title":"№ канала","tag":"\"Sensors\".P_water_before_boiler_1.N_chanel","val":":="Sensors".P_water_before_boiler_1.N_chanel:","type":"aiChannel","eng":""},{"title":"Нижняя граница (АЦП)","tag":"\"Sensors\".P_water_before_boiler_1.Low_limit_ADC_current","val":":="Sensors".P_water_before_boiler_1.Low_limit_ADC_current:","type":"","eng":""},{"title":"Нижняя граница (физ.)","tag":"\"Sensors\".P_water_before_boiler_1.Low_limit_phisical_current","val":":="Sensors".P_water_before_boiler_1.Low_limit_phisical_current:","type":"","eng":":="Engineering_units".pressure_01_EU:"},{"title":"Верхняя граница (АЦП)","tag":"\"Sensors\".P_water_before_boiler_1.High_limit_ADC_current","val":":="Sensors".P_water_before_boiler_1.High_limit_ADC_current:","type":"","eng":""},{"title":"Верхняя граница (физ.)","tag":"\"Sensors\".P_water_before_boiler_1.High_limit_phisical_current","val":":="Sensors".P_water_before_boiler_1.High_limit_phisical_current:","type":"","eng":":="Engineering_units".pressure_01_EU:"}]},

## Qgas
Name | Title | type | eng
Q_gas | Q газа на котел |  |  | "Q_gas": {"title": "Q газа на котел","tags":[
Enable | Наличие параметра | en |  | {"title":"Наличие параметра","tag":"\"Sensors\".Q_gas.Enable","val":":="Sensors".Q_gas.Enable:","type":"en","eng":""},
a | Коэффициент расхода |  |  | {"title":"Коэффициент расхода","tag":"\"Sensors\".Q_gas.a","val":":="Sensors".Q_gas.a:","type":"","eng":""},
Ksh | Поправочный коэффициент на шероховатость трубопровода |  |  | {"title":"Поправочный коэффициент на шероховатость трубопровода","tag":"\"Sensors\".Q_gas.Ksh","val":":="Sensors".Q_gas.Ksh:","type":"","eng":""},
Kp | Поправочный коэффициент на неостроту входной кромки диафрагмы |  |  | {"title":"Поправочный коэффициент на неостроту входной кромки диафрагмы","tag":"\"Sensors\".Q_gas.Kp","val":":="Sensors".Q_gas.Kp:","type":"","eng":""},
d | Диаметр сужающего устройства |  | мм | {"title":"Диаметр сужающего устройства","tag":"\"Sensors\".Q_gas.d","val":":="Sensors".Q_gas.d:","type":"","eng":"мм"},
Dtrub | Диаметр трубопровода |  | мм | {"title":"Диаметр трубопровода","tag":"\"Sensors\".Q_gas.Dtrub","val":":="Sensors".Q_gas.Dtrub:","type":"","eng":"мм"},
ros | Плотность среды в стандартных условиях |  | кг/м³ | {"title":"Плотность среды в стандартных условиях","tag":"\"Sensors\".Q_gas.ros","val":":="Sensors".Q_gas.ros:","type":"","eng":"кг/м³"},
K | Коэффициент сжимаемости |  |  | {"title":"Коэффициент сжимаемости","tag":"\"Sensors\".Q_gas.K","val":":="Sensors".Q_gas.K:","type":"","eng":""}
Sensors |  |  |  | "Q_gas": {"title": "Q газа на котел","tags":[{"title":"Наличие параметра","tag":"\"Sensors\".Q_gas.Enable","val":":="Sensors".Q_gas.Enable:","type":"en","eng":""},{"title":"Коэффициент расхода","tag":"\"Sensors\".Q_gas.a","val":":="Sensors".Q_gas.a:","type":"","eng":""},{"title":"Поправочный коэффициент на шероховатость трубопровода","tag":"\"Sensors\".Q_gas.Ksh","val":":="Sensors".Q_gas.Ksh:","type":"","eng":""},{"title":"Поправочный коэффициент на неостроту входной кромки диафрагмы","tag":"\"Sensors\".Q_gas.Kp","val":":="Sensors".Q_gas.Kp:","type":"","eng":""},{"title":"Диаметр сужающего устройства","tag":"\"Sensors\".Q_gas.d","val":":="Sensors".Q_gas.d:","type":"","eng":"мм"},{"title":"Диаметр трубопровода","tag":"\"Sensors\".Q_gas.Dtrub","val":":="Sensors".Q_gas.Dtrub:","type":"","eng":"мм"},{"title":"Плотность среды в стандартных условиях","tag":"\"Sensors\".Q_gas.ros","val":":="Sensors".Q_gas.ros:","type":"","eng":"кг/м³"},{"title":"Коэффициент сжимаемости","tag":"\"Sensors\".Q_gas.K","val":":="Sensors".Q_gas.K:","type":"","eng":""}]},

## Qwater
Name | Title | type | eng
Q_water_boiler | Q воды через котел |  |  | "Q_water_boiler": {"title": "Q воды через котел","tags":[
Enable | Наличие параметра | en |  | {"title":"Наличие параметра","tag":"\"Sensors\".Q_water_boiler.Enable","val":":="Sensors".Q_water_boiler.Enable:","type":"en","eng":""},
a | Коэффициент расхода |  |  | {"title":"Коэффициент расхода","tag":"\"Sensors\".Q_water_boiler.a","val":":="Sensors".Q_water_boiler.a:","type":"","eng":""},
Ksh | Поправочный коэффициент на шероховатость трубопровода |  |  | {"title":"Поправочный коэффициент на шероховатость трубопровода","tag":"\"Sensors\".Q_water_boiler.Ksh","val":":="Sensors".Q_water_boiler.Ksh:","type":"","eng":""},
Kp | Поправочный коэффициент на неостроту входной кромки диафрагмы |  |  | {"title":"Поправочный коэффициент на неостроту входной кромки диафрагмы","tag":"\"Sensors\".Q_water_boiler.Kp","val":":="Sensors".Q_water_boiler.Kp:","type":"","eng":""},
d | Диаметр сужающего устройства в рабочих условиях |  | мм | {"title":"Диаметр сужающего устройства в рабочих условиях","tag":"\"Sensors\".Q_water_boiler.d","val":":="Sensors".Q_water_boiler.d:","type":"","eng":"мм"},
ro | Плотность среды в рабочих условиях |  | кг/м³ | {"title":"Плотность среды в рабочих условиях","tag":"\"Sensors\".Q_water_boiler.ro","val":":="Sensors".Q_water_boiler.ro:","type":"","eng":"кг/м³"}
Sensors |  |  |  | "Q_water_boiler": {"title": "Q воды через котел","tags":[{"title":"Наличие параметра","tag":"\"Sensors\".Q_water_boiler.Enable","val":":="Sensors".Q_water_boiler.Enable:","type":"en","eng":""},{"title":"Коэффициент расхода","tag":"\"Sensors\".Q_water_boiler.a","val":":="Sensors".Q_water_boiler.a:","type":"","eng":""},{"title":"Поправочный коэффициент на шероховатость трубопровода","tag":"\"Sensors\".Q_water_boiler.Ksh","val":":="Sensors".Q_water_boiler.Ksh:","type":"","eng":""},{"title":"Поправочный коэффициент на неостроту входной кромки диафрагмы","tag":"\"Sensors\".Q_water_boiler.Kp","val":":="Sensors".Q_water_boiler.Kp:","type":"","eng":""},{"title":"Диаметр сужающего устройства в рабочих условиях","tag":"\"Sensors\".Q_water_boiler.d","val":":="Sensors".Q_water_boiler.d:","type":"","eng":"мм"},{"title":"Плотность среды в рабочих условиях","tag":"\"Sensors\".Q_water_boiler.ro","val":":="Sensors".Q_water_boiler.ro:","type":"","eng":"кг/м³"}]},

## AO
Name | Title | type | eng
DS_control_frequency | AO - Задание для ПЧ ДС |  |  | "DS_control_frequency": {"title": "AO - Задание для ПЧ ДС","tags":[
Enable | Наличие параметра | en |  | {"title":"Наличие параметра","tag":"\"Sensors\".DS_control_frequency.Enable","val":":="Sensors".DS_control_frequency.Enable:","type":"en","eng":""},
N_module | № модуля | module |  | {"title":"№ модуля","tag":"\"Sensors\".DS_control_frequency.N_module","val":":="Sensors".DS_control_frequency.N_module:","type":"module","eng":""},
N_chanel | № канала | aoChannel |  | {"title":"№ канала","tag":"\"Sensors\".DS_control_frequency.N_chanel","val":":="Sensors".DS_control_frequency.N_chanel:","type":"aoChannel","eng":""},
Low_limit_phisical_current | Нижняя граница (физ.) |  | Гц | {"title":"Нижняя граница (физ.)","tag":"\"Sensors\".DS_control_frequency.Low_limit_phisical_current","val":":="Sensors".DS_control_frequency.Low_limit_phisical_current:","type":"","eng":"Гц"},
High_limit_phisical_current | Верхняя граница (физ.) |  | Гц | {"title":"Верхняя граница (физ.)","tag":"\"Sensors\".DS_control_frequency.High_limit_phisical_current","val":":="Sensors".DS_control_frequency.High_limit_phisical_current:","type":"","eng":"Гц"}
Sensors |  |  |  | "DS_control_frequency": {"title": "AO - Задание для ПЧ ДС","tags":[{"title":"Наличие параметра","tag":"\"Sensors\".DS_control_frequency.Enable","val":":="Sensors".DS_control_frequency.Enable:","type":"en","eng":""},{"title":"№ модуля","tag":"\"Sensors\".DS_control_frequency.N_module","val":":="Sensors".DS_control_frequency.N_module:","type":"module","eng":""},{"title":"№ канала","tag":"\"Sensors\".DS_control_frequency.N_chanel","val":":="Sensors".DS_control_frequency.N_chanel:","type":"aoChannel","eng":""},{"title":"Нижняя граница (физ.)","tag":"\"Sensors\".DS_control_frequency.Low_limit_phisical_current","val":":="Sensors".DS_control_frequency.Low_limit_phisical_current:","type":"","eng":"Гц"},{"title":"Верхняя граница (физ.)","tag":"\"Sensors\".DS_control_frequency.High_limit_phisical_current","val":":="Sensors".DS_control_frequency.High_limit_phisical_current:","type":"","eng":"Гц"}]},

## DI
Name | Title | type | eng
DS_no_voltage | DI - ШУД ДС - напряжение в норме |  |  | "DS_no_voltage": {"title": "DI - ШУД ДС - напряжение в норме","tags":[
Enable | Наличие параметра | en |  | {"title":"Наличие параметра","tag":"\"Sensors\".DS_no_voltage.Enable","val":":="Sensors".DS_no_voltage.Enable:","type":"en","eng":""},
N_module | № модуля | module |  | {"title":"№ модуля","tag":"\"Sensors\".DS_no_voltage.N_module","val":":="Sensors".DS_no_voltage.N_module:","type":"module","eng":""},
N_chanel | № канала | diChannel |  | {"title":"№ канала","tag":"\"Sensors\".DS_no_voltage.N_chanel","val":":="Sensors".DS_no_voltage.N_chanel:","type":"diChannel","eng":""},
Invert | Инверсия | en |  | {"title":"Инверсия","tag":"\"Sensors\".DS_no_voltage.Invert","val":":="Sensors".DS_no_voltage.Invert:","type":"en","eng":""}
Sensors |  |  |  | "DS_no_voltage": {"title": "DI - ШУД ДС - напряжение в норме","tags":[{"title":"Наличие параметра","tag":"\"Sensors\".DS_no_voltage.Enable","val":":="Sensors".DS_no_voltage.Enable:","type":"en","eng":""},{"title":"№ модуля","tag":"\"Sensors\".DS_no_voltage.N_module","val":":="Sensors".DS_no_voltage.N_module:","type":"module","eng":""},{"title":"№ канала","tag":"\"Sensors\".DS_no_voltage.N_chanel","val":":="Sensors".DS_no_voltage.N_chanel:","type":"diChannel","eng":""},{"title":"Инверсия","tag":"\"Sensors\".DS_no_voltage.Invert","val":":="Sensors".DS_no_voltage.Invert:","type":"en","eng":""}]},

## DO
Name | Title | type | eng
control_alarm_signal | DO - Индикация \"Аварийная сигнализация\" (внутренний монтаж шкафа) |  |  | "control_alarm_signal": {"title": "DO - Индикация \"Аварийная сигнализация\" (внутренний монтаж шкафа)","tags":[
Enable | Наличие параметра | en |  | {"title":"Наличие параметра","tag":"\"Sensors\".control_alarm_signal.Enable","val":":="Sensors".control_alarm_signal.Enable:","type":"en","eng":""},
N_module | № модуля | module |  | {"title":"№ модуля","tag":"\"Sensors\".control_alarm_signal.N_module","val":":="Sensors".control_alarm_signal.N_module:","type":"module","eng":""},
N_chanel | № канала | doChannel |  | {"title":"№ канала","tag":"\"Sensors\".control_alarm_signal.N_chanel","val":":="Sensors".control_alarm_signal.N_chanel:","type":"doChannel","eng":""},
reserv1 | Резерв | en |  | {"title":"Резерв","tag":"\"Sensors\".control_alarm_signal.reserv1","val":":="Sensors".control_alarm_signal.reserv1:","type":"en","eng":""}
Sensors |  |  |  | "control_alarm_signal": {"title": "DO - Индикация \"Аварийная сигнализация\" (внутренний монтаж шкафа)","tags":[{"title":"Наличие параметра","tag":"\"Sensors\".control_alarm_signal.Enable","val":":="Sensors".control_alarm_signal.Enable:","type":"en","eng":""},{"title":"№ модуля","tag":"\"Sensors\".control_alarm_signal.N_module","val":":="Sensors".control_alarm_signal.N_module:","type":"module","eng":""},{"title":"№ канала","tag":"\"Sensors\".control_alarm_signal.N_chanel","val":":="Sensors".control_alarm_signal.N_chanel:","type":"doChannel","eng":""},{"title":"Резерв","tag":"\"Sensors\".control_alarm_signal.reserv1","val":":="Sensors".control_alarm_signal.reserv1:","type":"en","eng":""}]},

## RegMap
Name | Title | type | eng
RegMap | Режимная карта |  |  | "RegMap": {"title": "Режимная карта","tags":[
P_air_ventilation | P воздуха (Вентиляция) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (Вентиляция)","tag":"\"RegMap\".P_air_ventilation","val":":="RegMap".P_air_ventilation:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_ventilation | Разрежение в топке котла (Вентиляция) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (Вентиляция)","tag":"\"RegMap\".dP_furnace_ventilation","val":":="RegMap".dP_furnace_ventilation:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_air_ignition | P воздуха (Розжиг) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (Розжиг)","tag":"\"RegMap\".P_air_ignition","val":":="RegMap".P_air_ignition:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_ignition | Разрежение в топке котла (Розжиг) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (Розжиг)","tag":"\"RegMap\".dP_furnace_ignition","val":":="RegMap".dP_furnace_ignition:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_1 | P газа (точка 1) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 1)","tag":"\"RegMap\".P_gaz_1","val":":="RegMap".P_gaz_1:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_1 | P воздуха (точка 1) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 1)","tag":"\"RegMap\".P_air_1","val":":="RegMap".P_air_1:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_1 | Разрежение в топке котла (точка 1) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 1)","tag":"\"RegMap\".dP_furnace_1","val":":="RegMap".dP_furnace_1:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_2 | P газа (точка 2) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 2)","tag":"\"RegMap\".P_gaz_2","val":":="RegMap".P_gaz_2:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_2 | P воздуха (точка 2) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 2)","tag":"\"RegMap\".P_air_2","val":":="RegMap".P_air_2:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_2 | Разрежение в топке котла (точка 2) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 2)","tag":"\"RegMap\".dP_furnace_2","val":":="RegMap".dP_furnace_2:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_3 | P газа (точка 3) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 3)","tag":"\"RegMap\".P_gaz_3","val":":="RegMap".P_gaz_3:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_3 | P воздуха (точка 3) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 3)","tag":"\"RegMap\".P_air_3","val":":="RegMap".P_air_3:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_3 | Разрежение в топке котла (точка 3) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 3)","tag":"\"RegMap\".dP_furnace_3","val":":="RegMap".dP_furnace_3:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_4 | P газа (точка 4) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 4)","tag":"\"RegMap\".P_gaz_4","val":":="RegMap".P_gaz_4:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_4 | P воздуха (точка 4) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 4)","tag":"\"RegMap\".P_air_4","val":":="RegMap".P_air_4:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_4 | Разрежение в топке котла (точка 4) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 4)","tag":"\"RegMap\".dP_furnace_4","val":":="RegMap".dP_furnace_4:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_5 | P газа (точка 5) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 5)","tag":"\"RegMap\".P_gaz_5","val":":="RegMap".P_gaz_5:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_5 | P воздуха (точка 5) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 5)","tag":"\"RegMap\".P_air_5","val":":="RegMap".P_air_5:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_5 | Разрежение в топке котла (точка 5) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 5)","tag":"\"RegMap\".dP_furnace_5","val":":="RegMap".dP_furnace_5:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_6 | P газа (точка 6) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 6)","tag":"\"RegMap\".P_gaz_6","val":":="RegMap".P_gaz_6:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_6 | P воздуха (точка 6) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 6)","tag":"\"RegMap\".P_air_6","val":":="RegMap".P_air_6:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_6 | Разрежение в топке котла (точка 6) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 6)","tag":"\"RegMap\".dP_furnace_6","val":":="RegMap".dP_furnace_6:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_7 | P газа (точка 7) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 7)","tag":"\"RegMap\".P_gaz_7","val":":="RegMap".P_gaz_7:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_7 | P воздуха (точка 7) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 7)","tag":"\"RegMap\".P_air_7","val":":="RegMap".P_air_7:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_7 | Разрежение в топке котла (точка 7) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 7)","tag":"\"RegMap\".dP_furnace_7","val":":="RegMap".dP_furnace_7:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
P_gaz_8 | P газа (точка 8) |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа (точка 8)","tag":"\"RegMap\".P_gaz_8","val":":="RegMap".P_gaz_8:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
P_air_8 | P воздуха (точка 8) |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха (точка 8)","tag":"\"RegMap\".P_air_8","val":":="RegMap".P_air_8:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
dP_furnace_8 | Разрежение в топке котла (точка 8) |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла (точка 8)","tag":"\"RegMap\".dP_furnace_8","val":":="RegMap".dP_furnace_8:","type":"","eng":":="Engineering_units".pressure_07_EU:"}
"RegMap": {"title": "Режимная карта","tags":[{"title":"P воздуха (Вентиляция)","tag":"\"RegMap\".P_air_ventilation","val":":="RegMap".P_air_ventilation:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (Вентиляция)","tag":"\"RegMap\".dP_furnace_ventilation","val":":="RegMap".dP_furnace_ventilation:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P воздуха (Розжиг)","tag":"\"RegMap\".P_air_ignition","val":":="RegMap".P_air_ignition:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (Розжиг)","tag":"\"RegMap\".dP_furnace_ignition","val":":="RegMap".dP_furnace_ignition:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 1)","tag":"\"RegMap\".P_gaz_1","val":":="RegMap".P_gaz_1:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 1)","tag":"\"RegMap\".P_air_1","val":":="RegMap".P_air_1:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 1)","tag":"\"RegMap\".dP_furnace_1","val":":="RegMap".dP_furnace_1:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 2)","tag":"\"RegMap\".P_gaz_2","val":":="RegMap".P_gaz_2:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 2)","tag":"\"RegMap\".P_air_2","val":":="RegMap".P_air_2:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 2)","tag":"\"RegMap\".dP_furnace_2","val":":="RegMap".dP_furnace_2:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 3)","tag":"\"RegMap\".P_gaz_3","val":":="RegMap".P_gaz_3:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 3)","tag":"\"RegMap\".P_air_3","val":":="RegMap".P_air_3:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 3)","tag":"\"RegMap\".dP_furnace_3","val":":="RegMap".dP_furnace_3:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 4)","tag":"\"RegMap\".P_gaz_4","val":":="RegMap".P_gaz_4:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 4)","tag":"\"RegMap\".P_air_4","val":":="RegMap".P_air_4:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 4)","tag":"\"RegMap\".dP_furnace_4","val":":="RegMap".dP_furnace_4:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 5)","tag":"\"RegMap\".P_gaz_5","val":":="RegMap".P_gaz_5:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 5)","tag":"\"RegMap\".P_air_5","val":":="RegMap".P_air_5:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 5)","tag":"\"RegMap\".dP_furnace_5","val":":="RegMap".dP_furnace_5:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 6)","tag":"\"RegMap\".P_gaz_6","val":":="RegMap".P_gaz_6:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 6)","tag":"\"RegMap\".P_air_6","val":":="RegMap".P_air_6:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 6)","tag":"\"RegMap\".dP_furnace_6","val":":="RegMap".dP_furnace_6:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 7)","tag":"\"RegMap\".P_gaz_7","val":":="RegMap".P_gaz_7:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 7)","tag":"\"RegMap\".P_air_7","val":":="RegMap".P_air_7:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 7)","tag":"\"RegMap\".dP_furnace_7","val":":="RegMap".dP_furnace_7:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"P газа (точка 8)","tag":"\"RegMap\".P_gaz_8","val":":="RegMap".P_gaz_8:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P воздуха (точка 8)","tag":"\"RegMap\".P_air_8","val":":="RegMap".P_air_8:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"Разрежение в топке котла (точка 8)","tag":"\"RegMap\".dP_furnace_8","val":":="RegMap".dP_furnace_8:","type":"","eng":":="Engineering_units".pressure_07_EU:"}]},

## ControlAnal
Name | Title | type | eng
Control_DS | Регулятор разрежения (аналоговый) |  |  | "Control_DS": {"title": "Регулятор разрежения (аналоговый)","tags":[
Mode | Режим работы | mode |  | {"title":"Режим работы","tag":"\"Control_DS\".Mode","val":":="Control_DS".Mode:","type":"mode","eng":""},
DB_PID | Зона нечувствительности |  | :="Engineering_units".pressure_07_EU: | {"title":"Зона нечувствительности","tag":"\"Control_DS\".DB_PID","val":":="Control_DS".DB_PID:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
KP_PID | Коэффициент пропорциональности |  |  | {"title":"Коэффициент пропорциональности","tag":"\"Control_DS\".KP_PID","val":":="Control_DS".KP_PID:","type":"","eng":""},
TI_PID | Постоянная времени интегрирования |  | мс | {"title":"Постоянная времени интегрирования","tag":"\"Control_DS\".TI_PID","val":":="Control_DS".TI_PID:","type":"","eng":"мс"},
TD_PID | Постоянная времени дифференцирования |  | мс | {"title":"Постоянная времени дифференцирования","tag":"\"Control_DS\".TD_PID","val":":="Control_DS".TD_PID:","type":"","eng":"мс"}
"Control_DS": {"title": "Регулятор разрежения (аналоговый)","tags":[{"title":"Режим работы","tag":"\"Control_DS\".Mode","val":":="Control_DS".Mode:","type":"mode","eng":""},{"title":"Зона нечувствительности","tag":"\"Control_DS\".DB_PID","val":":="Control_DS".DB_PID:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"Коэффициент пропорциональности","tag":"\"Control_DS\".KP_PID","val":":="Control_DS".KP_PID:","type":"","eng":""},{"title":"Постоянная времени интегрирования","tag":"\"Control_DS\".TI_PID","val":":="Control_DS".TI_PID:","type":"","eng":"мс"},{"title":"Постоянная времени дифференцирования","tag":"\"Control_DS\".TD_PID","val":":="Control_DS".TD_PID:","type":"","eng":"мс"}]},

## ControlImp
Name | Title | type | eng
Control_ZRG | Регулятор нагрузки (импульсный) |  |  | "Control_ZRG": {"title": "Регулятор нагрузки (импульсный)","tags":[
Mode | Режим работы | mode |  | {"title":"Режим работы","tag":"\"Control_ZRG\".Mode","val":":="Control_ZRG".Mode:","type":"mode","eng":""},
DB_PID | Зона нечувствительности |  | °C | {"title":"Зона нечувствительности","tag":"\"Control_ZRG\".DB_PID","val":":="Control_ZRG".DB_PID:","type":"","eng":"°C"},
KP_PID | Коэффициент пропорциональности |  |  | {"title":"Коэффициент пропорциональности","tag":"\"Control_ZRG\".KP_PID","val":":="Control_ZRG".KP_PID:","type":"","eng":""},
TI_PID | Постоянная времени интегрирования |  | мс | {"title":"Постоянная времени интегрирования","tag":"\"Control_ZRG\".TI_PID","val":":="Control_ZRG".TI_PID:","type":"","eng":"мс"},
TD_PID | Постоянная времени дифференцирования |  | мс | {"title":"Постоянная времени дифференцирования","tag":"\"Control_ZRG\".TD_PID","val":":="Control_ZRG".TD_PID:","type":"","eng":"мс"},
FMT_PID | Время хода механизма |  | мс | {"title":"Время хода механизма","tag":"\"Control_ZRG\".FMT_PID","val":":="Control_ZRG".FMT_PID:","type":"","eng":"мс"},
DT_MIN_PID | Минимальная длительность импульса |  | мс | {"title":"Минимальная длительность импульса","tag":"\"Control_ZRG\".DT_MIN_PID","val":":="Control_ZRG".DT_MIN_PID:","type":"","eng":"мс"},
GAP | Время люфта |  | мс | {"title":"Время люфта","tag":"\"Control_ZRG\".GAP","val":":="Control_ZRG".GAP:","type":"","eng":"мс"}
"Control_ZRG": {"title": "Регулятор нагрузки (импульсный)","tags":[{"title":"Режим работы","tag":"\"Control_ZRG\".Mode","val":":="Control_ZRG".Mode:","type":"mode","eng":""},{"title":"Зона нечувствительности","tag":"\"Control_ZRG\".DB_PID","val":":="Control_ZRG".DB_PID:","type":"","eng":"°C"},{"title":"Коэффициент пропорциональности","tag":"\"Control_ZRG\".KP_PID","val":":="Control_ZRG".KP_PID:","type":"","eng":""},{"title":"Постоянная времени интегрирования","tag":"\"Control_ZRG\".TI_PID","val":":="Control_ZRG".TI_PID:","type":"","eng":"мс"},{"title":"Постоянная времени дифференцирования","tag":"\"Control_ZRG\".TD_PID","val":":="Control_ZRG".TD_PID:","type":"","eng":"мс"},{"title":"Время хода механизма","tag":"\"Control_ZRG\".FMT_PID","val":":="Control_ZRG".FMT_PID:","type":"","eng":"мс"},{"title":"Минимальная длительность импульса","tag":"\"Control_ZRG\".DT_MIN_PID","val":":="Control_ZRG".DT_MIN_PID:","type":"","eng":"мс"},{"title":"Время люфта","tag":"\"Control_ZRG\".GAP","val":":="Control_ZRG".GAP:","type":"","eng":"мс"}]},

## AlarmSP
Name | Title | type | eng
Alarms_and_warnings | Аварийные настройки |  |  | "AlarmSP": {"title": "Аварийные настройки","tags":[
TIME_Alarm_Not_flame_burner | Отсутствие пламени горелки котла. Задержка формирования |  | мс | {"title":"Отсутствие пламени горелки котла. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_Not_flame_burner","val":":="Alarms_and_warnings".TIME_Alarm_Not_flame_burner:","type":"","eng":"мс"},
TIME_Alarm_CO2_porog2 | Сигнализация СО2 порог 2. Задержка формирования |  | с | {"title":"Сигнализация СО2 порог 2. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_CO2_porog2","val":":="Alarms_and_warnings".TIME_Alarm_CO2_porog2:","type":"","eng":"с"},
TIME_Alarm_CH4 | Сигнализация CH4. Задержка формирования |  | с | {"title":"Сигнализация CH4. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_CH4","val":":="Alarms_and_warnings".TIME_Alarm_CH4:","type":"","eng":"с"},
TIME_Alarm_DS_off | Отключение ДС. Задержка формирования |  | с | {"title":"Отключение ДС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_DS_off","val":":="Alarms_and_warnings".TIME_Alarm_DS_off:","type":"","eng":"с"},
TIME_Alarm_DV_off | Отключение ДВ. Задержка формирования |  | с | {"title":"Отключение ДВ. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_DV_off","val":":="Alarms_and_warnings".TIME_Alarm_DV_off:","type":"","eng":"с"},
SP_alarm_L_P_gas_before_BG | P газа перед газовым блоком МИН |  | :="Engineering_units".pressure_03_EU: | {"title":"P газа перед газовым блоком МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_gas_before_BG","val":":="Alarms_and_warnings".SP_alarm_L_P_gas_before_BG:","type":"","eng":":="Engineering_units".pressure_03_EU:"},
TIME_Alarm_P_gas_before_BG_min | P газа перед газовым блоком МИН. Задержка формирования |  | с | {"title":"P газа перед газовым блоком МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_BG_min","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_BG_min:","type":"","eng":"с"},
SP_alarm_H_P_gas_before_BG | P газа перед газовым блоком МАКС |  | :="Engineering_units".pressure_03_EU: | {"title":"P газа перед газовым блоком МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_P_gas_before_BG","val":":="Alarms_and_warnings".SP_alarm_H_P_gas_before_BG:","type":"","eng":":="Engineering_units".pressure_03_EU:"},
TIME_Alarm_P_gas_before_BG_max | P газа перед газовым блоком МАКС. Задержка формирования |  | с | {"title":"P газа перед газовым блоком МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_BG_max","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_BG_max:","type":"","eng":"с"},
SP_alarm_L_P_gas_before_burner | P газа перед горелкой МИН |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа перед горелкой МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_gas_before_burner","val":":="Alarms_and_warnings".SP_alarm_L_P_gas_before_burner:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
TIME_Alarm_P_gas_before_burner_min | P газа перед горелкой МИН. Задержка формирования |  | с | {"title":"P газа перед горелкой МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_burner_min","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_burner_min:","type":"","eng":"с"},
SP_alarm_H_P_gas_before_burner | P газа перед горелкой МАКС |  | :="Engineering_units".pressure_05_EU: | {"title":"P газа перед горелкой МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_P_gas_before_burner","val":":="Alarms_and_warnings".SP_alarm_H_P_gas_before_burner:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
TIME_Alarm_P_gas_before_burner_max | P газа перед горелкой МАКС. Задержка формирования |  | с | {"title":"P газа перед горелкой МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_burner_max","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_burner_max:","type":"","eng":"с"},
SP_alarm_L_dP_furnace_boiler | Разрежение в топке котла МИН |  | :="Engineering_units".pressure_07_EU: | {"title":"Разрежение в топке котла МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_dP_furnace_boiler","val":":="Alarms_and_warnings".SP_alarm_L_dP_furnace_boiler:","type":"","eng":":="Engineering_units".pressure_07_EU:"},
TIME_Alarm_dP_furnace_boiler_min | Разрежение в топке котла МИН. Задержка формирования |  | с | {"title":"Разрежение в топке котла МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_dP_furnace_boiler_min","val":":="Alarms_and_warnings".TIME_Alarm_dP_furnace_boiler_min:","type":"","eng":"с"},
SP_alarm_L_P_air_before_burner | P воздуха на горелку МИН |  | :="Engineering_units".pressure_06_EU: | {"title":"P воздуха на горелку МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_air_before_burner","val":":="Alarms_and_warnings".SP_alarm_L_P_air_before_burner:","type":"","eng":":="Engineering_units".pressure_06_EU:"},
TIME_Alarm_P_air_before_burner_min | P воздуха на горелку МИН. Задержка формирования |  | с | {"title":"P воздуха на горелку МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_air_before_burner_min","val":":="Alarms_and_warnings".TIME_Alarm_P_air_before_burner_min:","type":"","eng":"с"},
SP_alarm_L_P_water_after_boiler | P воды после котла МИН |  | :="Engineering_units".pressure_02_EU: | {"title":"P воды после котла МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_water_after_boiler","val":":="Alarms_and_warnings".SP_alarm_L_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"},
TIME_Alarm_P_water_after_boiler_min | P воды после котла МИН. Задержка формирования |  | с | {"title":"P воды после котла МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_water_after_boiler_min","val":":="Alarms_and_warnings".TIME_Alarm_P_water_after_boiler_min:","type":"","eng":"с"},
SP_alarm_H_P_water_after_boiler | P воды после котла МАКС |  | :="Engineering_units".pressure_02_EU: | {"title":"P воды после котла МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_P_water_after_boiler","val":":="Alarms_and_warnings".SP_alarm_H_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"},
TIME_Alarm_P_water_after_boiler_max | P воды после котла МАКС. Задержка формирования |  | с | {"title":"P воды после котла МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_water_after_boiler_max","val":":="Alarms_and_warnings".TIME_Alarm_P_water_after_boiler_max:","type":"","eng":"с"},
SP_alarm_H_T_water_after_boiler | T воды после котла МАКС |  | °C | {"title":"T воды после котла МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_T_water_after_boiler","val":":="Alarms_and_warnings".SP_alarm_H_T_water_after_boiler:","type":"","eng":"°C"},
TIME_Alarm_T_water_after_boiler_max | T воды после котла МАКС. Задержка формирования |  | с | {"title":"T воды после котла МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_T_water_after_boiler_max","val":":="Alarms_and_warnings".TIME_Alarm_T_water_after_boiler_max:","type":"","eng":"с"},
SP_alarm_L_Q_water_boiler | Q воды через котел МИН |  | м³/ч | {"title":"Q воды через котел МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_Q_water_boiler","val":":="Alarms_and_warnings".SP_alarm_L_Q_water_boiler:","type":"","eng":"м³/ч"},
TIME_Alarm_Q_water_boiler_min | Q воды через котел МИН. Задержка формирования |  | с | {"title":"Q воды через котел МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_Q_water_boiler_min","val":":="Alarms_and_warnings".TIME_Alarm_Q_water_boiler_min:","type":"","eng":"с"}
AlarmSP |  |  |  | "AlarmSP": {"title": "Аварийные настройки","tags":[{"title":"Отсутствие пламени горелки котла. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_Not_flame_burner","val":":="Alarms_and_warnings".TIME_Alarm_Not_flame_burner:","type":"","eng":"мс"},{"title":"Сигнализация СО2 порог 2. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_CO2_porog2","val":":="Alarms_and_warnings".TIME_Alarm_CO2_porog2:","type":"","eng":"с"},{"title":"Сигнализация CH4. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_CH4","val":":="Alarms_and_warnings".TIME_Alarm_CH4:","type":"","eng":"с"},{"title":"Отключение ДС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_DS_off","val":":="Alarms_and_warnings".TIME_Alarm_DS_off:","type":"","eng":"с"},{"title":"Отключение ДВ. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_DV_off","val":":="Alarms_and_warnings".TIME_Alarm_DV_off:","type":"","eng":"с"},{"title":"P газа перед газовым блоком МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_gas_before_BG","val":":="Alarms_and_warnings".SP_alarm_L_P_gas_before_BG:","type":"","eng":":="Engineering_units".pressure_03_EU:"},{"title":"P газа перед газовым блоком МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_BG_min","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_BG_min:","type":"","eng":"с"},{"title":"P газа перед газовым блоком МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_P_gas_before_BG","val":":="Alarms_and_warnings".SP_alarm_H_P_gas_before_BG:","type":"","eng":":="Engineering_units".pressure_03_EU:"},{"title":"P газа перед газовым блоком МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_BG_max","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_BG_max:","type":"","eng":"с"},{"title":"P газа перед горелкой МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_gas_before_burner","val":":="Alarms_and_warnings".SP_alarm_L_P_gas_before_burner:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P газа перед горелкой МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_burner_min","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_burner_min:","type":"","eng":"с"},{"title":"P газа перед горелкой МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_P_gas_before_burner","val":":="Alarms_and_warnings".SP_alarm_H_P_gas_before_burner:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"P газа перед горелкой МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_gas_before_burner_max","val":":="Alarms_and_warnings".TIME_Alarm_P_gas_before_burner_max:","type":"","eng":"с"},{"title":"Разрежение в топке котла МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_dP_furnace_boiler","val":":="Alarms_and_warnings".SP_alarm_L_dP_furnace_boiler:","type":"","eng":":="Engineering_units".pressure_07_EU:"},{"title":"Разрежение в топке котла МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_dP_furnace_boiler_min","val":":="Alarms_and_warnings".TIME_Alarm_dP_furnace_boiler_min:","type":"","eng":"с"},{"title":"P воздуха на горелку МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_air_before_burner","val":":="Alarms_and_warnings".SP_alarm_L_P_air_before_burner:","type":"","eng":":="Engineering_units".pressure_06_EU:"},{"title":"P воздуха на горелку МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_air_before_burner_min","val":":="Alarms_and_warnings".TIME_Alarm_P_air_before_burner_min:","type":"","eng":"с"},{"title":"P воды после котла МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_P_water_after_boiler","val":":="Alarms_and_warnings".SP_alarm_L_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"},{"title":"P воды после котла МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_water_after_boiler_min","val":":="Alarms_and_warnings".TIME_Alarm_P_water_after_boiler_min:","type":"","eng":"с"},{"title":"P воды после котла МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_P_water_after_boiler","val":":="Alarms_and_warnings".SP_alarm_H_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"},{"title":"P воды после котла МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_P_water_after_boiler_max","val":":="Alarms_and_warnings".TIME_Alarm_P_water_after_boiler_max:","type":"","eng":"с"},{"title":"T воды после котла МАКС","tag":"\"Alarms_and_warnings\".SP_alarm_H_T_water_after_boiler","val":":="Alarms_and_warnings".SP_alarm_H_T_water_after_boiler:","type":"","eng":"°C"},{"title":"T воды после котла МАКС. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_T_water_after_boiler_max","val":":="Alarms_and_warnings".TIME_Alarm_T_water_after_boiler_max:","type":"","eng":"с"},{"title":"Q воды через котел МИН","tag":"\"Alarms_and_warnings\".SP_alarm_L_Q_water_boiler","val":":="Alarms_and_warnings".SP_alarm_L_Q_water_boiler:","type":"","eng":"м³/ч"},{"title":"Q воды через котел МИН. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Alarm_Q_water_boiler_min","val":":="Alarms_and_warnings".TIME_Alarm_Q_water_boiler_min:","type":"","eng":"с"}]},

## WarningSP
Name | Title | type | eng
Alarms_and_warnings | Предупредительные настройки |  |  | "WarningSP": {"title": "Предупредительные настройки","tags":[
TIME_Warning_Not_flame_Igniter | Отсутствие пламени запальника. Задержка формирования |  | мс | {"title":"Отсутствие пламени запальника. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Warning_Not_flame_Igniter","val":":="Alarms_and_warnings".TIME_Warning_Not_flame_Igniter:","type":"","eng":"мс"},
TIME_Warning_PZK2_not_open | ПЗК-2 не открылся. Задержка формирования |  | с | {"title":"ПЗК-2 не открылся. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Warning_PZK2_not_open","val":":="Alarms_and_warnings".TIME_Warning_PZK2_not_open:","type":"","eng":"с"},
TIME_Warning_ZDG_not_close | ЗДГ не закрылся |  | с | {"title":"ЗДГ не закрылся","tag":"\"Alarms_and_warnings\".TIME_Warning_ZDG_not_close","val":":="Alarms_and_warnings".TIME_Warning_ZDG_not_close:","type":"","eng":"с"},
SP_warning_L_P_water_before_boiler | P воды перед котлом МИН |  | :="Engineering_units".pressure_01_EU: | {"title":"P воды перед котлом МИН","tag":"\"Alarms_and_warnings\".SP_warning_L_P_water_before_boiler","val":":="Alarms_and_warnings".SP_warning_L_P_water_before_boiler:","type":"","eng":":="Engineering_units".pressure_01_EU:"},
SP_warning_H_P_water_before_boiler | P воды перед котлом МАКС |  | :="Engineering_units".pressure_01_EU: | {"title":"P воды перед котлом МАКС","tag":"\"Alarms_and_warnings\".SP_warning_H_P_water_before_boiler","val":":="Alarms_and_warnings".SP_warning_H_P_water_before_boiler:","type":"","eng":":="Engineering_units".pressure_01_EU:"},
SP_warning_L_P_water_after_boiler | P воды после котла МИН |  | :="Engineering_units".pressure_02_EU: | {"title":"P воды после котла МИН","tag":"\"Alarms_and_warnings\".SP_warning_L_P_water_after_boiler","val":":="Alarms_and_warnings".SP_warning_L_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"},
SP_warning_H_P_water_after_boiler | P воды после котла МАКС |  | :="Engineering_units".pressure_02_EU: | {"title":"P воды после котла МАКС","tag":"\"Alarms_and_warnings\".SP_warning_H_P_water_after_boiler","val":":="Alarms_and_warnings".SP_warning_H_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"}
SP_warning_H_T_water_after_boiler | T воды после котла МАКС |  | °C | {"title":"T воды после котла МАКС","tag":"\"Alarms_and_warnings\".SP_warning_H_T_water_after_boiler","val":":="Alarms_and_warnings".SP_warning_H_T_water_after_boiler:","type":"","eng":"°C"}
SP_warning_L_Q_water_boiler | Q воды через котел МИН |  | м³/ч | {"title":"Q воды через котел МИН","tag":"\"Alarms_and_warnings\".SP_warning_L_Q_water_boiler","val":":="Alarms_and_warnings".SP_warning_L_Q_water_boiler:","type":"","eng":"м³/ч"}
SP_warning_H_Q_water_boiler | Q воды через котел МАКС |  | м³/ч | {"title":"Q воды через котел МАКС","tag":"\"Alarms_and_warnings\".SP_warning_H_Q_water_boiler","val":":="Alarms_and_warnings".SP_warning_H_Q_water_boiler:","type":"","eng":"м³/ч"}
WarningSP |  |  |  | "WarningSP": {"title": "Предупредительные настройки","tags":[{"title":"Отсутствие пламени запальника. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Warning_Not_flame_Igniter","val":":="Alarms_and_warnings".TIME_Warning_Not_flame_Igniter:","type":"","eng":"мс"},{"title":"ПЗК-2 не открылся. Задержка формирования","tag":"\"Alarms_and_warnings\".TIME_Warning_PZK2_not_open","val":":="Alarms_and_warnings".TIME_Warning_PZK2_not_open:","type":"","eng":"с"},{"title":"ЗДГ не закрылся","tag":"\"Alarms_and_warnings\".TIME_Warning_ZDG_not_close","val":":="Alarms_and_warnings".TIME_Warning_ZDG_not_close:","type":"","eng":"с"},{"title":"P воды перед котлом МИН","tag":"\"Alarms_and_warnings\".SP_warning_L_P_water_before_boiler","val":":="Alarms_and_warnings".SP_warning_L_P_water_before_boiler:","type":"","eng":":="Engineering_units".pressure_01_EU:"},{"title":"P воды перед котлом МАКС","tag":"\"Alarms_and_warnings\".SP_warning_H_P_water_before_boiler","val":":="Alarms_and_warnings".SP_warning_H_P_water_before_boiler:","type":"","eng":":="Engineering_units".pressure_01_EU:"},{"title":"P воды после котла МИН","tag":"\"Alarms_and_warnings\".SP_warning_L_P_water_after_boiler","val":":="Alarms_and_warnings".SP_warning_L_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"},{"title":"P воды после котла МАКС","tag":"\"Alarms_and_warnings\".SP_warning_H_P_water_after_boiler","val":":="Alarms_and_warnings".SP_warning_H_P_water_after_boiler:","type":"","eng":":="Engineering_units".pressure_02_EU:"}]},

## Technology
Name | Title | type | eng
Technology | Режимные настройки |  |  | "Technology": {"title": "Режимные настройки","tags":[
SP_T_water_after_boiler | РАБОТА - Уставка T воды после котла |  | °C | {"title":"РАБОТА - Уставка T воды после котла","tag":"\"Technology\".SP_T_water_after_boiler","val":":="Technology".SP_T_water_after_boiler:","type":"","eng":"°C"},
SP_TIME_Ventilation | ВЕНТИЛЯЦИЯ - Уставка времени вентиляции топки |  | с | {"title":"ВЕНТИЛЯЦИЯ - Уставка времени вентиляции топки","tag":"\"Technology\".SP_TIME_Ventilation","val":":="Technology".SP_TIME_Ventilation:","type":"","eng":"с"},
SP_TIME_Ventilation_start | ВЕНТИЛЯЦИЯ - Уставка времени определения начала вентиляции |  | с | {"title":"ВЕНТИЛЯЦИЯ - Уставка времени определения начала вентиляции","tag":"\"Technology\".SP_TIME_Ventilation_start","val":":="Technology".SP_TIME_Ventilation_start:","type":"","eng":"с"},
DB_P_air_ventilation | ВЕНТИЛЯЦИЯ - Допустимое отклонение P воздуха |  | % | {"title":"ВЕНТИЛЯЦИЯ - Допустимое отклонение P воздуха","tag":"\"Technology\".DB_P_air_ventilation","val":":="Technology".DB_P_air_ventilation:","type":"","eng":"%"},
DB_dP_furnace_ventilation | ВЕНТИЛЯЦИЯ - Допустимое отклонение разрежения в топке |  | % | {"title":"ВЕНТИЛЯЦИЯ - Допустимое отклонение разрежения в топке","tag":"\"Technology\".DB_dP_furnace_ventilation","val":":="Technology".DB_dP_furnace_ventilation:","type":"","eng":"%"},
SP_TIME_check_P_between_PZK | ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК-1 и ПЗК-2 |  | с | {"title":"ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК-1 и ПЗК-2","tag":"\"Technology\".SP_TIME_check_P_between_PZK","val":":="Technology".SP_TIME_check_P_between_PZK:","type":"","eng":"с"},
SP_P_between_PZK_check_min | ОПРЕССОВКА - Уставка МИН Р газа между ПЗК-1 и ПЗК-2 |  | :="Engineering_units".pressure_04_EU: | {"title":"ОПРЕССОВКА - Уставка МИН Р газа между ПЗК-1 и ПЗК-2","tag":"\"Technology\".SP_P_between_PZK_check_min","val":":="Technology".SP_P_between_PZK_check_min:","type":"","eng":":="Engineering_units".pressure_04_EU:"},
SP_P_between_PZK_check_max | ОПРЕССОВКА - Уставка МАКС Р газа между ПЗК-1 и ПЗК-2 |  | :="Engineering_units".pressure_04_EU: | {"title":"ОПРЕССОВКА - Уставка МАКС Р газа между ПЗК-1 и ПЗК-2","tag":"\"Technology\".SP_P_between_PZK_check_max","val":":="Technology".SP_P_between_PZK_check_max:","type":"","eng":":="Engineering_units".pressure_04_EU:"},
DB_P_air_ignition | РОЗЖИГ - Допустимое отклонение P воздуха |  | % | {"title":"РОЗЖИГ - Допустимое отклонение P воздуха","tag":"\"Technology\".DB_P_air_ignition","val":":="Technology".DB_P_air_ignition:","type":"","eng":"%"},
DB_dP_furnace_ignition | РОЗЖИГ - Допустимое отклонение разрежения в топке |  | % | {"title":"РОЗЖИГ - Допустимое отклонение разрежения в топке","tag":"\"Technology\".DB_dP_furnace_ignition","val":":="Technology".DB_dP_furnace_ignition:","type":"","eng":"%"},
Heating_enable | ПРОГРЕВ - Разрешение режима | en |  | {"title":"ПРОГРЕВ - Разрешение режима","tag":"\"Technology\".Heating_enable","val":":="Technology".Heating_enable:","type":"en","eng":""},
SP_TIME_Heating | ПРОГРЕВ - Уставка времени прогрева |  | с | {"title":"ПРОГРЕВ - Уставка времени прогрева","tag":"\"Technology\".SP_TIME_Heating","val":":="Technology".SP_TIME_Heating:","type":"","eng":"с"},
Max_P_gas_heating | ПРОГРЕВ - Уставка МАКС Р газа перед горелкой |  | :="Engineering_units".pressure_05_EU: | {"title":"ПРОГРЕВ - Уставка МАКС Р газа перед горелкой","tag":"\"Technology\".Max_P_gas_heating","val":":="Technology".Max_P_gas_heating:","type":"","eng":":="Engineering_units".pressure_05_EU:"},
Short_ventilation_enable | УКОР.ВЕНТИЛЯЦИЯ - Разрешение режима | en |  | {"title":"УКОР.ВЕНТИЛЯЦИЯ - Разрешение режима","tag":"\"Technology\".Short_ventilation_enable","val":":="Technology".Short_ventilation_enable:","type":"en","eng":""},
SP_TIME_Short_ventilation | УКОР.ВЕНТИЛЯЦИЯ - Уставка времени укороченной вентиляции |  | с | {"title":"УКОР.ВЕНТИЛЯЦИЯ - Уставка времени укороченной вентиляции","tag":"\"Technology\".SP_TIME_Short_ventilation","val":":="Technology".SP_TIME_Short_ventilation:","type":"","eng":"с"},
Stop_press_enable | ПОСТ.ОПРЕССОВКА - Разрешение режима | en |  | {"title":"ПОСТ.ОПРЕССОВКА - Разрешение режима","tag":"\"Technology\".Stop_press_enable","val":":="Technology".Stop_press_enable:","type":"en","eng":""},
SP_TIME_check_P_stop_press_min | ПОСТ.ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК на МИН |  | с | {"title":"ПОСТ.ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК на МИН","tag":"\"Technology\".SP_TIME_check_P_stop_press_min","val":":="Technology".SP_TIME_check_P_stop_press_min:","type":"","eng":"с"},
SP_TIME_check_P_stop_press_max | ПОСТ.ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК на МАКС |  | с | {"title":"ПОСТ.ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК на МАКС","tag":"\"Technology\".SP_TIME_check_P_stop_press_max","val":":="Technology".SP_TIME_check_P_stop_press_max:","type":"","eng":"с"}
"Technology": {"title": "Режимные настройки","tags":[{"title":"РАБОТА - Уставка T воды после котла","tag":"\"Technology\".SP_T_water_after_boiler","val":":="Technology".SP_T_water_after_boiler:","type":"","eng":"°C"},{"title":"ВЕНТИЛЯЦИЯ - Уставка времени вентиляции топки","tag":"\"Technology\".SP_TIME_Ventilation","val":":="Technology".SP_TIME_Ventilation:","type":"","eng":"с"},{"title":"ВЕНТИЛЯЦИЯ - Уставка времени определения начала вентиляции","tag":"\"Technology\".SP_TIME_Ventilation_start","val":":="Technology".SP_TIME_Ventilation_start:","type":"","eng":"с"},{"title":"ВЕНТИЛЯЦИЯ - Допустимое отклонение P воздуха","tag":"\"Technology\".DB_P_air_ventilation","val":":="Technology".DB_P_air_ventilation:","type":"","eng":"%"},{"title":"ВЕНТИЛЯЦИЯ - Допустимое отклонение разрежения в топке","tag":"\"Technology\".DB_dP_furnace_ventilation","val":":="Technology".DB_dP_furnace_ventilation:","type":"","eng":"%"},{"title":"ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК-1 и ПЗК-2","tag":"\"Technology\".SP_TIME_check_P_between_PZK","val":":="Technology".SP_TIME_check_P_between_PZK:","type":"","eng":"с"},{"title":"ОПРЕССОВКА - Уставка МИН Р газа между ПЗК-1 и ПЗК-2","tag":"\"Technology\".SP_P_between_PZK_check_min","val":":="Technology".SP_P_between_PZK_check_min:","type":"","eng":":="Engineering_units".pressure_04_EU:"},{"title":"ОПРЕССОВКА - Уставка МАКС Р газа между ПЗК-1 и ПЗК-2","tag":"\"Technology\".SP_P_between_PZK_check_max","val":":="Technology".SP_P_between_PZK_check_max:","type":"","eng":":="Engineering_units".pressure_04_EU:"},{"title":"РОЗЖИГ - Допустимое отклонение P воздуха","tag":"\"Technology\".DB_P_air_ignition","val":":="Technology".DB_P_air_ignition:","type":"","eng":"%"},{"title":"РОЗЖИГ - Допустимое отклонение разрежения в топке","tag":"\"Technology\".DB_dP_furnace_ignition","val":":="Technology".DB_dP_furnace_ignition:","type":"","eng":"%"},{"title":"ПРОГРЕВ - Разрешение режима","tag":"\"Technology\".Heating_enable","val":":="Technology".Heating_enable:","type":"en","eng":""},{"title":"ПРОГРЕВ - Уставка времени прогрева","tag":"\"Technology\".SP_TIME_Heating","val":":="Technology".SP_TIME_Heating:","type":"","eng":"с"},{"title":"ПРОГРЕВ - Уставка МАКС Р газа перед горелкой","tag":"\"Technology\".Max_P_gas_heating","val":":="Technology".Max_P_gas_heating:","type":"","eng":":="Engineering_units".pressure_05_EU:"},{"title":"УКОР.ВЕНТИЛЯЦИЯ - Разрешение режима","tag":"\"Technology\".Short_ventilation_enable","val":":="Technology".Short_ventilation_enable:","type":"en","eng":""},{"title":"УКОР.ВЕНТИЛЯЦИЯ - Уставка времени укороченной вентиляции","tag":"\"Technology\".SP_TIME_Short_ventilation","val":":="Technology".SP_TIME_Short_ventilation:","type":"","eng":"с"},{"title":"ПОСТ.ОПРЕССОВКА - Разрешение режима","tag":"\"Technology\".Stop_press_enable","val":":="Technology".Stop_press_enable:","type":"en","eng":""},{"title":"ПОСТ.ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК на МИН","tag":"\"Technology\".SP_TIME_check_P_stop_press_min","val":":="Technology".SP_TIME_check_P_stop_press_min:","type":"","eng":"с"},{"title":"ПОСТ.ОПРЕССОВКА - Уставка времени проверки Р газа между ПЗК на МАКС","tag":"\"Technology\".SP_TIME_check_P_stop_press_max","val":":="Technology".SP_TIME_check_P_stop_press_max:","type":"","eng":"с"}]},